## Info
Document title |  | CC Chip.si equipment list
Created |  | 2025-08-18
Created by |  | A. Mraz (Nanocenter), Jurij Podržaj (UL-FE)
Version |  | 1.1_web
Purpose:
The purpose of this document is to list all available equipment provied by consortuim partners of the CC Chip.si, which can be accessed/used by the users.
In the document, please fill in information of the equipment according to the provided categories.
English is the preferred language.
Version history
Version | Change Description |  | Date Modified | Modified By
1.0 | Document first draft |  | 2025-05-08 | Anže M.
1.1 | Updated doc layout |  | 18/082025 | Jurij P.
1.1_web | Final version for web publishing |  | 2026-03-02 | Jurij P.

## List
| Doc. title | Preliminary list of national infrastructure and equipment withi CC Chip.si consortium
| Created | 2026-03-02
| Modified | 2026-03-02
| Created by | CC Chip.si
| Version | 1.1_web
| Contact | office@cc-chip.si
| PURPOSE: | In this document provide basic information about available infrastrcture and equipment related to support users in the field of chips, semiconductor technogies, integrated photnonic and quantum technologies.
| NOTE TO USERS: | If you would like to share whether any of the contacts listed in the table were helpful to you, we would be happy to hear from you at office@cc-chip.si.
Consortium partner / Konzorsicjski partner | Equipment name / Ime opreme | Manufacturer / Proizvajalec | Short descrption, charatersitics / Kratek opis opreme, karakteristike | Use case / Primer uporabe | Additional information / Dodatne informacije | Responsible person / Odgovorna oseba | Contact person / Kontaktna oseba | Equipment loacation / Lokacija opreme | Terms of use / Pogoji uporabe | Reservation / Rezervacija opreme | Funding / Financiranje pri nakupu | Photo / Slika opreme | Additional remarks (optional) / Dodatne opombe (opcijsko)
IJS | High speed osciloscope | 4 channel high bandwidth 80 Gs/s osciloscope Teledyne LeCroy LABMASTER 10-36ZIA | Osilloscope for measurement of fast electronic signals | Aquistion of hish speed signals with 8 bit resolution | NA | rok.pestotnik@ijs.si | rok.pestotnik@ijs.si | F9 IJS | The equipment is available for usage during free resource times and upon previous arrangement at rok.pestotnik@ijs.si. | The equipment is available for usage during free resource times and upon previous arrangement at rok.pestotnik@ijs.si. | NA
IJS | RF Chamber | IJS | RF schielding chamber 2x3x3m light tight | Test of RF and optical systems response | NA | rok.pestotnik@ijs.si | rok.pestotnik@ijs.si | F9 IJS | The equipment is available for usage during free resource times and upon previous arrangement at rok.pestotnik@ijs.si. | The equipment is available for usage during free resource times and upon previous arrangement at rok.pestotnik@ijs.si. | NA
Nanocenter | 4-probe STM UHV system | Scienta Omicron | The 4-probe STM UHV (LT Nanoprobe UHV System from Omicron Nanotechnology GmbH) system is a powerful microscopy system designed for characterization and processing of thin films and nanostructures. Microscope stage combines 4 probes that act as tips for atomic resolution scanning tunnelling microscopy and one of them can also perform atomic force microscopy. To facilitate better control and positioning over probes and the sample and to perform basic electron microscopy, a scanning electron microscope is installed above the chamber. The system enables precise 4-point measurements of electronic transport and nanostructure manipulation. The main microscope components are: UHC chamber with microscope stage and a caroussel with space for 10 probes and samples, and a system for cooling the sample below 5 K, sample preparation chamber, loadlock for probe and sample transfer and a caroussel with space for 10 probes and samples, electron column and electronics for scanning electron microscopy, turbomolecular pump, titan sublimation pump, two ion pumps and pressure gauges for vacuum control, electronics for positioning and microscopy with STM probes and transport measurements, optical access for laser to enable in-situ femtosecond spectroscopy measurements. | Some of our 4-probe STM UHV results: https://www.scientaomicron.com/en/result-of-the-month/129 | Presentation by the manufacturer: https://scientaomicron.com/en/products-solutions/SPM/LT-NANOPROBE-Lab | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | C010 laboratory at Complex matter department, Jozef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person | Financed from EU (ESRD) funds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013. |  | https://www.nanocenter.si/sl/equipment/4-probe-stm-uhv-system/
Nanocenter | Revetest Scratch tester | CSM Instruments | The scratch tester is used for characterization of adhesion of thin films. It uses a diamond tip which is drawn along the sample surface by pressing a predefined load (or load ramp). Several parameters are recorded in-situ: scratching force, scratching coeffictient, penetration depth and acoustic emission. After the scratching procedure a post-treatment evaluation includes: residual depth, acquisition of the optical image of the whole scratch and visual determination of critical loads. | The equipment configuration is particulary useful for analysis of nanolayer and nanostructured hard coatings. | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | asst. prof. Miha Čekada, +386 1 477 3796, miha.cekada@ijs.si | asst. prof. Miha Čekada, +386 1 477 3796, miha.cekada@ijs.si | Department of Thin Films and Surfaces (room 128), Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Tribometer 220V 50/60Hz | CSM Instruments | The tribometer is used for characterization of friction and wear. In its basic configuration it performs the standard pin-on-disk test where the disk is the sample and the pin is a standard ball. During the test the friction coefficient is measured as a function of time. After the test is completed the wear track cross-section on the sample is measured by a profilometer (not part of this equipment). Using these data the wear rate is calculated. Advanced analysis of the wear pattern by other techniques is possible as well (optical microscopy, SEM, EDS, etc). | The tribometer configuration is essential for evaluation of tribological properties of hard coatings, especially the ones with low wear rate, such as nanostructured hard coatings. | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | asst. prof. Miha Čekada, +386 1 477 3796, miha.cekada@ijs.si | asst. prof. Miha Čekada, +386 1 477 3796, miha.cekada@ijs.si | Department of Thin Films and Surfaces (room 128), Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Low-temperature scanning tunneling microscope with supplements (LT STM) | Specs GmbH | This equipment allows (beside sample preparation) measurements with low-temperature STM at temperatures below 1K, which results in an exellent energy resolution. | A low-temperature scanning tunneling microscope (LT-STM) is a highly surface-sensitive technique, so the key requirement is electrical conductivity (or at least semiconductivity) of the sample. Cooling to cryogenic temperatures (typically 4–77 K, sometimes mK) enables atomic resolution and spectroscopic studies with minimal thermal noise. | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Igor Muševič, +386 (0)1 477 3552, igor.musevic@ijs.si | prof. dr. Igor Muševič, +386 (0)1 477 3552, igor.musevic@ijs.si | Laboratory C022, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person
Nanocenter | Nuclear magnetic resonance scanning tunneling microscope with supplements (NMR STM) |  | NMR-STM (Nuclear Magnetic Resonance–Scanning Tunneling Microscopy) is an extremely specialized STM variant that combines STM with nuclear spin resonance detection at the atomic scale. | Nuclear magnetic resonance spectra Hyperfine splitting Local magnetic fields Chemical identity (via nuclear signature) Spin–nuclear coupling constants | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Erik Zupanič, +386 (0)1 477 3552, erik.zupanic@ijs.si | Erik Zupanič, +386 (0)1 477 3552, erik.zupanic@ijs.si | Laboratory 124, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person
Nanocenter | Vibrating Sample Magnetometer 7404 VSM | Lake Shore Inc. | he magnetometer is used for basic characterizations of magnetic materials. The measured property is the dependency of the magnetic moment on the applied magnetic field. The results are usually reported as mass magnetization, moment per sample mass. Only the room-temperature magnetization curves can be obtained. The maximum applied magnetic field strength depends on the air gap between the pole caps of the electromagnets (see table). The air gap also defines the sample-access space. | The measured samples can be in the form of powder, liquid or bulk, e.g. film, pellet, or any kind of shape that can be attached to the film sample holder. The vibrating head, to which the sample is attached, can be rotated by 3600, enabling measurements of the magnetization at an arbitrary angle between the magnetic field and the sample. Such a measurement can provide information about the magnetic texture in the material. The range of moments that can be measured is between 10-7 emu and 103 emu, with an accuracy better than 1% at 0.2% of the full-scale range. | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Sašo Gyergyek, +386 (0)1 477 3629, saso.gyergyek@ijs.si | Sašo Gyergyek, +386 (0)1 477 3629, saso.gyergyek@ijs.si | Laboratory K803, Department for synthesis of materials, Inštitut Jožef Stefan, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Transmission Electron Microscope (TEM) Jeol JEM 2100 HR | Jeol | The JEM-2100 electron microscope provides solutions for a wide range of problems in the fields of materials, nanoelectronics, and biological sciences. Based on MS Windows™ software, the JEM-2100 is intuitive and easy to use with external control functions including the optional SIRIUS™ remote control system. The JEM-2100 features a high-stability goniometer stage specifically tuned for high tilt tomographic applications. The optional JEOL TEMography™ software system automatically acquires and registers images, automatically calculates the 3-D reconstruction, and provides 3-D visualization software to display and rotate the image on a variety of axes. An x/y piezo stage is an available option. The JEM-2100 has three independent condenser lenses and produces the highest probe current for any given probe size, which allows for improved analytical and diffraction capabilities. The patented JEOL Alpha Selector™ allows a user the selection of a variety of illumination conditions, ranging from full convergent beam to parallel illumination. The standard incorporation of the objective mini lens means that Lorentz microscopy is a standard feature of this microscope. A high contrast aperture is available for any choice of polepiece, allowing high contrast imaging and simultaneous EDS. The JEM-2100 offers a number of pumping options including full dry-pumped/turbo-pumped versions for lab environments that do not allow for oil-based or rotary pumps. | Analysing of TEM lamellas, nanoparticles, thin films,… | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | dr. Miran Čeh, +386 (0)1 477 3341, miran.ceh@ijs.si | dr. Miran Čeh, +386 (0)1 477 3341, miran.ceh@ijs.si | Equipment location: Center for Electron Microscopy, Institut Jožef Stefan, Jamova 39, Ljubljana | to be discussed with responsible person, First time users must attend schooling. Schooling is payable in advance and is organized by International Postgraduate school Jozef Stefan.To apply: send the candidats basic data along with the specification of payer (name, address, VAT) to e-mail. | you are obliged to use reservation system | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology 2004 – 2006.
Nanocenter | Atomic Layer Deposition – ALD System TFS 200 | Beneq Oy | Atomic deposition system is intended for the application of different atomic layers. Since one of the goals in CENN Nanocenter is to test number of new nanomaterials and their potential use in industry, the Atomic deposition system will accelerate significantly the final prototyping. At the same time it will allow the functionalization of nanomaterials and thin nanostructured layers and similar systems constructed in advance with other methods. Such systems are extremely interesting as they allow easy production of sub-nanometer components, which have recently been the subject of great interest both in research as well as in industrial circles. Atomic deposition system is in use for a long time, today is also used in developing and manufacturing advanced nano-electronics on silicon base. Atomic layer deposition (ALD) is a thin film growth method based on sequential introduction of precursors and nitrogen purges into the reactor. Each precursor adsorbs to the exposed surface area and there reacts with the other precursor(s), while excess precursors and unwanted chemical products are flushed out of the reactor with high purity nitrogen purging pulses. The number of cycles determines the final film thickness. | Deposition of HfO₂ and Al₂O₃, cyclic deposition by atomic layers, automatic process control; the reactor can accommodate samples up to 200 mm in size. | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Peter Rodič, peter.rodic@ijs.si | Peter Rodič, peter.rodic@ijs.si | K3 Laboraotry, JSI, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person
Nanocenter | Low-temperature probe station TTPX Probe Station | Lake Shore Inc. | 4-probe probestation for measurements of electrical properties in temperature range 4K-400K. Each of the four probes can be moved in three degrees of freedom with micrometer screws. Each probe is a thin needle-like tip with curvature radius of 3um – 25um, and is connected to the measurement device through a triaxial connector. Liquid nitrogen and helium (which needs to be obtained separately) can be used for cooling, with the former we can reach 70K and 4K with the latter. |  | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | Damjan Svetin, damjan.svetin@ijs.si | room C210, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | person in charge must be present at the first use of the probe station of each user | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Molecular beam epitaxy (MBE) system | Omicron GmbH | Molecular Beam Epitaxy (MBE) is a very precise deposition method for single crystal thin film growth. It can be used to deposit various materials, such as metals, semiconductors, magnetic materials, oxide and chalcogenide layers, organic molecules, and more. The growth takes place in a UHV chamber where source materials are evaporated and emitted onto a substrate. Temperature controller, shutters, beam flux monitor, mass analyzer and RHEED system (Reflection High-Energy Electron Diffraction) allow for in-situ monitoring and control of the evaporation and growth. The thickness of grown films ranges from single layers to several tens of nm. | 1. Semiconductor Devices (Core Industrial Use): -High-Electron-Mobility Transistors (HEMTs) 2. Optoelectronics: -Lasers & LEDs -Quantum cascade lasers -VCSELs -Infrared and mid-IR lasers 3. Quantum Technologies -Quantum Wells, Dots, and Wires -Single-electron devices -Quantum dots with controlled size and density 4. Spintronics & Magnetic Devices -Magnetic multilayers -Dilute magnetic semiconductors 5. Advanced Oxides & Functional Materials -Oxide heterostructures (e.g., LaAlO₃/SrTiO₃) -Ferroelectric and multiferroic layers 7. Prototype & Low-Volume Production -MBE is ideal when: Structures are too complex for CVD or sputtering | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Dr. Yelyzaveta Chernolevska, yelyzaveta.chernolevska@ijs.si | Dr. Yelyzaveta Chernolevska, yelyzaveta.chernolevska@ijs.si | basement in building B, Jožef Stefan Institute, Jamova 39, Ljubljana | to be discussed with responsible person | to be discussed with responsible person
Nanocenter | PLD (Pulsed Laser Deposition) | TSST B.V. | Pulse laser application is a technique for preparing thin layers of predominantly inorganic nature. The supplied system is intended for layer-by-layer growth and thus enables the preparation of high-quality thin layers and structuring at the nanoscopic level. The system is equipped with the following main components: | 1. Thin-film growth -Depositing oxide, nitride, metal, and complex compound films -Excellent for multicomponent materials where stoichiometry must be preserved -Film thickness typically from a few nanometers to micrometers 2. Functional materials research Superconductors -Ferroelectric and piezoelectric materials -Magnetic and multiferroic thin films -Transparent conducting oxides (e.g., ITO) 3. Semiconductor and oxide electronics -Growth of epitaxial thin films on crystalline substrates -Fabrication of heterostructures and multilayers -Research on 2D and correlated electron materials 4. Surface science and interface engineering -Precise control of film thickness and interfaces -Layer-by-layer growth for interface-dominated phenomena -Often combined with in situ diagnostics (RHEED, XPS) | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | dr. Matjaz Spreitzer, +386 (0) 1 477 3705, matjaz.spreitzer@ijs.si | dr. Matjaz Spreitzer, +386 (0) 1 477 3705, matjaz.spreitzer@ijs.si | laboratories at the Department of Modern Materials, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person | The equipment was financed from EU funds (ERDF funds) in the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010-2013.
Nanocenter | Low Temperature probestation with vertical magnetic field CPX-VF | Specs GmbH | 4-probe probestation for measurements of electrical properties in temperature range 4K-400K and in a vertical magnetic field 0T – 2.6T. Each of the four probes can be moved in three degrees of freedom with micrometer screws. Each probe is a thin needle-like tip with curvature radius of 3um – 25um, and is connected to the measurement device through a triaxial connector. Liquid nitrogen and helium (which needs to be obtained separately) can be used for cooling, with the former we can reach 70K and 4K with the latter. |  | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | Damjan Svetin, damjan.svetin@ijs.si | room C210, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | person in charge must be present at the first use of the probe station of each user | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Low-temperature probe station TTPX Probe Station | Lake Shore Inc. | 4-probe probestation for measurements of electrical properties in temperature range 4K-400K. Each of the four probes can be moved in three degrees of freedom with micrometer screws. Each probe is a thin needle-like tip with curvature radius of 3um – 25um, and is connected to the measurement device through a triaxial connector. Liquid nitrogen and helium (which needs to be obtained separately) can be used for cooling, with the former we can reach 70K and 4K with the latter. |  | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | Damjan Svetin, damjan.svetin@ijs.si | room C210, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | person in charge must be present at the first use of the probe station of each user | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | 4-probe UHV STM/SEM microscopy system | Oxford Instruments Omicron NanoScience | The 4-probe STM UHV (LT Nanoprobe UHV System from Omicron Nanotechnology GmbH) system is a powerful microscopy system designed for characterization and processing of thin films and nanostructures. Microscope stage combines 4 probes that act as tips for atomic resolution scanning tunnelling microscopy and one of them can also perform atomic force microscopy. To facilitate better control and positioning over probes and the sample and to perform basic electron microscopy, a scanning electron microscope is installed above the chamber. The system enables precise 4-point measurements of electronic transport and nanostructure manipulation. | 1. Electrical transport measurements (four-point probe) -Measuring sheet resistance, conductivity, and resistivity -Eliminates contact resistance effects (key advantage of 4-probe method) -Enables local I–V measurements on micro- and nanoscale structures 2. Surface and atomic-scale imaging -STM mode: atomic-resolution imaging of conductive surfaces -SEM mode: nanoscale imaging and navigation over larger areas -Correlating structure with electrical properties at the same location 3. Low-dimensional and quantum materials research -Studying 2D materials (graphene, MoS₂, topological insulators) -Investigating quantum transport, edge states, and defects -Probing metal–semiconductor junctions and nanowires 4. Surface science under ultra-high vacuum (UHV) -Clean surface preparation and analysis (no oxidation or contamination) -Studying surface reconstructions, adsorbates, and thin films -In situ measurements during growth or annealing 5. Nanoelectronics and device physics -Measuring local conductivity in nanoscale devices -Testing contacts, interfaces, and patterned structures -Prototyping and characterizing single-nanostructure devices | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | C010 laboratory at Complex matter department, Jozef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person | Financed from EU (ESRD) funds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Elipsometer | Accurion GmbH | Optical ellipsometry is a non-destructive technique for investigation of surfaces, interfaces and thin films. It probes modifications of the polarization state of optical beam reflected from the sample. Imaging ellipsometer uses microscopic objectives to reduce the size of investigated surface region to the micrometer range. Our ellipsometer uses objectives with extra-long working distance, which provides measurements on surfaces of macroscopic objects. The magnified image of the sample is visualised in reflected light, which propagates through a set of selected polarization sensitive optical elements. The resulting “polarization filtered” image is detected by CCD camera with variable shutter timings and gain control. The system provides ellipsometric analysis with the lateral resolution of 1 μm. This allows the user to perform measurements on microstructured samples. Several regions of interest can be analysed at the same time. | 1. Thin-film thickness measurement -Determines film thickness from fractions of a nanometer to several micrometers -Common for oxide layers, polymer films, photoresists, and coatings 2. Optical property characterization -Measures refractive index (n) and extinction coefficient (k) -Used to study optical constants of materials 3. Semiconductor and microelectronics industry -Monitoring gate oxides, dielectric layers, and multilayer stacks -Process control in wafer fabrication -Quality control for uniformity and consistency 4. Materials science -Characterizing thin coatings, multilayer structures, and nanomaterials -Studying surface roughness and interfaces 5. Chemistry and surface science -Investigating adsorption, corrosion, and oxidation processes -Monitoring film growth in real time (in situ ellipsometry) 6. Biology and biosensors -Measuring protein, lipid, or DNA layers on surfaces -Studying biomolecular binding without fluorescent labels | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Irena Drevenšek Olenik, +386 (0)1 477 3647, irena.drevensek@ijs.si | prof. dr. Irena Drevenšek Olenik, +386 (0)1 477 3647, irena.drevensek@ijs.si | Laboratory in building B, Jožef Stefan Institute, Jamova c. 39, 1000 Ljubljana | to be discussed with responsible person, use of the elipsometer is allowed for qualified operators only | to be discussed with responsible person | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Confocal microscope LEICA TCS SP5 X | Leica | The equipment consists of a fully motorized inverted research fluorescence microscope with a confocal scanning head and one-photon excitation. Confocal microscope is equipped with a white light laser for excitation in the visible light spectrum and a diode laser for excitation in the near UV. White light laser is applied as an adjustable laser light source fo excitation (together with AOTF), which allows arbitrary laser lines between 470 nm and 670 nm (up to 8 lines simultaneously). Furthermore, system is equipped with acousto-optical beam splitter (AOBS), conventional and resonant scanner and three highly sensitive spectral detectors (photomultiplier (PMT) and two hybrid detectors (HyD)). | 1. Biological research -Imaging cells and tissues with fine detail -Visualizing fluorescently labeled proteins, DNA, or organelles -Studying cell structure, localization, and interactions -Live-cell imaging to observe dynamic processes (e.g., cell division, protein movement) 2. 3D imaging and reconstruction -Capturing optical slices (z-stacks) at different depths -Reconstructing 3D models of cells, tissues, or biofilms 3. Medical and clinical applications -Pathology and histology for detailed tissue analysis -Dermatology (e.g., non-invasive skin imaging) -Neuroscience for mapping neurons and synapses 4. Materials science -Examining surface topography and microstructures -Studying polymers, semiconductors, coatings, and nanomaterials 5. Microbiology -Imaging bacteria, fungi, and biofilms -Observing microbial interactions in 3D environments | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Ernestina Lavrih (ernestina.lavrih@ijs.si) | Ernestina Lavrih (ernestina.lavrih@ijs.si) | Laboratory B203 (GMO class 1 only), DEPARTMENT B1, BUILDING B, Jožef Stefan Institute, Jamova c. 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person, you are obliged to use reservation system | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013.
Nanocenter | Confocal Raman spectrometer with AFM | NT-MDT Co. | TERS (Tip enhanced Raman spectroscopy) ready imaging Raman microscope – NT-MDT model »Integra Spectra for Material Science« provides »the same spot« coupled confocal Raman – AFM measurements with atomic resolution on samples of 50×50 mm size. Raman excitation lines at 488, 632.8 and 785 nm are available. Measurements are possible in the temperature range from 3.4 K to 500 K and at reduced pressure down to high vacuum (10-8 mbar). | Applications: Materials, Electronics, Thin films, MEMS/NEMS, Biotechnology, Medicine, Pharmaceutical products | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Damjan Vengust, damjan.vengust@ijs.si | Damjan Vengust, damjan.vengust@ijs.si | Equipment location: Laboratory B-S, Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana | to be discussed with responsible person | New users have to be supervised by an experienced user. Reservation are mandatory. | Equipment was financed by EU (ESRD) funds through the operation of the Center of Excellence in Nanoscience and Nanotechnology, Nanocenter 2009 – 2013. |  | Manufacturer`s Home page: http://www.ntmdt.com/
Nanocenter | Focused Ion Beam Helios Nanolab 650 | FEI (Thermofischer) | Focused Ion Beam (FIB) technique is a powerful micro- and nano-fabrication technique that uses a finely focused beam of ions—typically gallium—to image, mill, deposit, and modify materials at the nanoscale. FIB systems are widely used in materials science, semiconductor failure analysis, nanotechnology, and biological sample preparation. The technique allows for site-specific material removal and modification with extremely high precision, often in combination with scanning electron microscopy (SEM) for enhanced imaging and analysis. | TEM lamelal preparation, cross section, STEM analysis, EDS analsis, FIB tomography | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | Bojan Ambrožič, bojan.ambrozic@nanocenter.si | Bojan Ambrožič, bojan.ambrozic@nanocenter.si | Equipment location: Laboratory B-S, Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana | to be discussed with responsible person, , you are obliged to use reservation system | to be discussed with responsible person, you are obliged to use reservation system | Financed from EU (ESRD) founds from the operation Center of Excellence in Nanoscience and Nanotechnology – CENN Nanocenter 2010 – 2013. |  | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2022/03/what-we-can-do-with-FIB.pdf
Nanocenter | ProtoLaser LDI and Electron Beam Lithography – EBL | LPKF Laser & Elektronika d.o.o., Midalix | DaLI is a high resolution laser lithography system for rapid prototyping on resist-coated substrates. The platform is based on a continuous UV laser, 2D acousto-optical deflectors and a high-precision xy table allowing direct optical nanolithography with a resolution of 1µm in a 10x10cm area. Fast writing is possible due to 100 kHz beam positioning with acoustic-optical deflectors. | Semiconductor devices protoyping, chips | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://www.nanocenter.si/wp-content/uploads/2023/10/18_Nanocenter_Presentation_LR.pdf | prof. dr. Dragan Mihailović, dragan.mihailovic@ijs.si | Damjan Svetin, damjan.svetin@ijs.si | room C210, Jožef Stefan Institute, Jamova 39, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person
University of Ljubljana, Faculty of Electrical Engineering, LMSE | MicroWriter ML3 Baby Direct-Write Lithography System | Durham Magneto Optics Ltd. (UK) | The MicroWriter ML3 Baby is a compact, high-performance direct-write (maskless) optical lithography machine designed for rapid prototyping and small-volume manufacturing in R&D labs and cleanrooms. It projects UV patterns directly onto photoresist-coated substrates without physical masks, enabling quick design iterations. Utilizing an advanced laser writing engine with resolutions down to 1 µm, it eliminates the need for traditional photomasks by enabling direct pattern exposure via intuitive software control. The system supports rapid substrate exchange across a variety of sizes and thicknesses and includes an integrated optical camera for real-time alignment and quality control. Key features: 149 mm × 149 mm maximum writing area 155 mm × 155 mm × 7 mm maximum substrate size 1 µm minimum feature size across full writing area 405 nm long-life semiconductor light source suitable for broadband, g- and h-line positive and negative photoresists Automatic alignment, grayscale exposure capability | Rapid patterning of microstructures for MEMS sensors, microfluidic devices, PCB prototypes, photonic components, bio-MEMS, and custom masks. Enables quick changes without mask fabrication costs. | https://lmse.fe.uni-lj.si/activities/arrs.shtml and https://www.durhammagnetooptics.com/?product=microwriter-ml3-baby | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE Cleanroom, Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Access after mandatory cleanroom training and equipment-specific introduction; hourly fee for external users; photoresist coating handled separately (spin-coater or separate service) | Via e-mail to responsible person. Minimum 4-hour slots, priority for research projects | Purchased through ARRS public call for the co-financing of the purchase of research equipment (Package 23)
University of Ljubljana, Faculty of Electrical Engineering, LMSE | Plasmalab System 100 ICP180 – Deep Reactive Ion Etcher (Bosch process) | Oxford Instruments Plasma Technology (UK) | Advanced ICP-DRIE system for deep, high-aspect-ratio silicon etching using the Bosch process (SF6/C4F8). Capable of etching trenches and vias > 500 µm deep with vertical sidewalls (90°+-0.5°) and aspect ratios >25:1. Wafer size up to 100 mm, uniformity (< ±3 %), He cooled wafer backside. System is also suitable for resist removal, isotropic silicon etching and anisotropic thin film etching, like SiOx, SiNx, Ti... | Fabrication of high-aspect-ratio MEMS devices, TSVs, silicon microfluidics components, and silicon molds for PDMS soft lithography with replica molding. | https://lmse.fe.uni-lj.si/thin_film/DRIE.shtml | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE, UL FE, Tržaška cesta 25, 1000 Ljubljana | Due to the high complexity of the equipment and the need to ensure process safety, reproducibility and protection of the system, independent individual operation is not permitted. All etching runs are performed exclusively in close collaboration with the responsible operator. External users are welcome, but the process must always be carried out together with the operator. | Via e-mail to responsible person | Purchased through Centre of Excellence NAMASTE (2017–2022), Operation partly financed by the European Union, European Regional Development Fund and Republic of Slovenia, Ministry of Education, Science and Sport
University of Ljubljana, Faculty of Electrical Engineering, LMSE | Plasmalab 80 Plus PECVD | Oxford Instruments Plasma Technology (UK) | Compact RF-PECVD system for deposition of high-quality SiOx, SiNₓ, SiOₓNᵧ and a-Si:H at low temperatures (50–350 °C). Electrode size up to 200 mm, excellent thickness uniformity (< ±3 %), stress control from compressive to tensile by using high- and low-RF power supply plasma switching capabilities. | Passivation layers, anti-reflection coatings, gate dielectrics, encapsulation of MEMS, dielectric layers in thin-film sensors and solar cells. | https://lmse.fe.uni-lj.si/thin_film/PECVD.shtml | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE Cleanroom, Faculty of Electrical Engineering, Ljubljana | Due to the high complexity of the equipment and the need to ensure process safety, reproducibility and protection of the system, independent individual operation is not permitted. All etching runs are performed exclusively in close collaboration with the responsible operator (Matjaž Cvar) or a person explicitly authorised by him. | Via e-mail to responsible person | Purchased through ARRS public call for the co-financing of the purchase of research equipment
University of Ljubljana, Faculty of Electrical Engineering, LMSE | System for production of ultra pure deionized water (UPW) | Willhelm Werner GmbH | Produces ASTM Type I ultrapure water (resistivity 18.2 MΩ·cm at 25 °C, TOC < 5 ppb). Continuous recirculation loop, 185/254 nm UV photo-oxidation, Duplex Softerner M60, prefilter 90 µm, final filter 0.2 µm (production rate ~100 L/h) and point-of-use polishing system Type E20 (20 L/min). | Final rinse of wafers and masks, dilution of chemicals, preparation of solutions for wet benches. | https://lmse.fe.uni-lj.si/activities/semi_MEMS.shtml | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE, Faculty of Electrical Engineering, Ljubljana | Open access for trained cleanroom users. Dispensing of ultrapure DI water to external users (academic or industrial) is also possible – water can be collected in user-provided clean containers or supplied in certified bottles upon prior arrangement with the responsible person. | No reservation required for regular cleanroom users. For external users requesting larger volumes of ultrapure water or regular supply, please contact the responsible person in advance. | Purchased through ARRS public call for cofinancing of the purchase of research equipment
University of Ljubljana, Faculty of Electrical Engineering, LMSE | HP 4155A Semiconductor Parametric Analyzer with Wentworth AWP 1050 Automatic Wafer Prober and associated instrumentation | Hewlett-Packard (HP, now Agilent Technologies) for parametric analyzer and meters; Wentworth Laboratories for wafer prober; Keithley Instruments for source meter; Temptronic for thermal chuck | Professional on-wafer semiconductor device characterization system for electrical measurements in a cleanroom environment. The core setup includes: HP 4155A Semiconductor Parametric Analyzer: For high-precision DC I-V and C-V measurements on semiconductor devices. Four channel, DC I-V characteristics (up to ±100 V / ±100 mA on HP 4155A), extendable with 41501 unit (up to ±100 V / ±1 A). System enable measurement currents in pA range. HP 4284A Precision LCR Meter: For inductance, capacitance, and resistance measurements with high accuracy. HP 4140B pA Meter / DC Voltage Source: Picoampere resolution current measurements and voltage sourcing. HP 4280A 1 MHz C Meter / CV Plotter with Mercury Probe Hg-401RL: Capacitance measurements up to 1 MHz, including non-destructive CV profiling using mercury probe. Keithley 2410 SourceMeter: Precision voltage/current sourcing up to 1100 V / 1 A for high-power device testing. Wentworth AWP 1050 Automatic Wafer Prober: Semi-automatic probing station with programmable XY stage for wafers up to 150 mm, interfaced via HP-IB bus. Temptronic TP 0315A-TS-2 Thermochuck: Temperature-controlled chuck from –65 °C to +200 °C for thermal characterization. | Complete electrical characterization of diodes, photodiodes, MOSFETs, MEMS/NEMS sensors, thin-film transistors, microsensor structures, solar cells, and semiconductor materials. Applications include I-V/C-V profiling, leakage current measurements, capacitance-voltage analysis, Hall effect mobility, resistivity mapping, and failure analysis in microelectronics and photonics R&D. | https://lmse.fe.uni-lj.si/activities/mat_dev_char.shtml | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE, Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Mandatory training by responsible person; suitable for external academic and industrial users (hourly fee applies for external users); | Via e-mail to responsible person; minimum 3-hour slots recommended. | ARRS infrastructure programme
University of Ljubljana, Faculty of Electrical Engineering, LMSE | CMT-SR2000N Automatic 4-Point Resistivity Prober | Chang Min Tech Co., (Korea) | Automated four-point probe system for precise sheet resistivity (Rₛ) and bulk resistivity measurements of thin films, wafers, and substrates up to 200 mm. Features programmable XY mapping stage for uniformity assessment, linear or square probe configurations with selectable spacing (0.635–2.54 mm), current sourcing up to 100 mA, resolution down to 0.01 mΩ/sq, integrated software for automated scanning and data analysis, compatible with various probe tips (tungsten carbide or osmium). Supports van der Pauw and inline measurements. Specifications: wafers up to 200 mm, measuring range 1 mΩ/sq - 2 MΩ/sq, 10 µΩ cm - 200 kΩ cm, current source 10 nA-100 mA, accuracy 0.5% | Sheet resistance mapping of doped semiconductors, transparent conductive oxides (TCOs like ITO, AZO), metal films, and epitaxial layers; uniformity checks in solar cell fabrication, process monitoring after ion implantation or diffusion, quality control for MEMS and thin-film devices. | https://lmse.fe.uni-lj.si/activities/mat_dev_char.shtml and https://www.epfl.ch/research/facilities/cmi/equipment/metrology/ait-cmt-sr2000n-4-point-probe-measurement-system/ | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE Cleanroom, Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Mandatory training (3 hours) for new users; suitable for external academic and industrial users (hourly fee applies); cleanroom gowning required | Via e-mail to responsible person; no minimum slot (can be shared for quick measurements) | ARRS infrastructure programme
University of Ljubljana, Faculty of Electrical Engineering, LMSE | SpecEL-2000-VIS Spectroscopic Ellipsometer | Mikropack GmbH (Germany) | The SpecEL-2000-VIS is a compact, bench-top spectroscopic ellipsometer designed for non-destructive thin-film characterization on semi-transparent flat samples such as wafers and glass plates. It measures changes in the phase and amplitude of polarized light reflected from the substrate surface to determine layer thickness, refractive index, absorption coefficient, and material composition as a function of wavelength. The all-in-one system includes an integrated broadband light source, spectrometer, two polarizers (fixed at nominally 70° incidence angle, customizable between 65° and 75°), and a 32-bit Windows PC with user-friendly software for automated analysis. Results are generated in seconds at the touch of a button, without requiring reference measurements. Key features: • Wavelength range: UV to near-IR (full spectral coverage for refractive index determination; extended models up to mid-IR) • Incidence angle: Nominally 70° (configurable 65°–75°) • Thickness measurement range: 0.1 nm to 8 µm (depending on material; typical 1 nm to 5 µm for most layers) • Accuracy: Thickness to ±1 nm; refractive index over full spectral range • Sample compatibility: Flat semi-transparent substrates (wafers up to 200 mm, glass plates) • Software: Supports advanced models (Cauchy, OJL, Tauc-Lorentz, Drude, EMA, oscillators); one-step analysis and method saving • Dimensions: 52 × 33 × 24 cm (compact desktop footprint) | Non-destructive characterization of thin films in MEMS, solar cells, and photonics: measuring thickness and optical constants (n, k) of dielectrics (e.g., SiO₂, SiNₓ), semiconductors, metals, organic layers, anti-reflection coatings, and perovskite materials. Applications include process control after PECVD/sputtering, quality assurance for AR coatings on solar cells, and verification of multi-layer stacks in sensor fabrication. | https://lmse.fe.uni-lj.si/activities/arrs.shtml and https://www.electrooptics.com/press-releases/specel-2000-vis | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE Cleanroom, Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Mandatory training by responsible person required; suitable for external academic and industrial users (hourly fee applies); cleanroom gowning required for access | Via e-mail to responsible person; minimum 2-hour slots recommended | Purchased through ARRS public call for the co-financing of the purchase of research equipment (Package 13)
University of Ljubljana, Faculty of Electrical Engineering, LMSE | Tempress Omega Junior Diffusion Furnaces (3 stacks with 7 tubes) | Tempress Systems (Netherlands) | The Tempress Omega Junior is a modular horizontal diffusion furnace system consisting of 3 independent stacks, each equipped with 7 process tubes for thermal treatments in semiconductor fabrication. It supports a wide range of diffusion and deposition processes using solid and gaseous sources. Key features: Temperature range: Up to 1200 °C with precise ramping control (typical for diffusion furnaces) Gases: N₂ (inert), H₂ (reducing), O₂ (oxidation), TCA (trichloroethane for HCl gettering) Solid sources: p-type (BN 975 from Carborundum with H₂ injection; Boron Plus GS 126, GS 139, GS 245 from Owens Illinois); n-type (Phosplus TP 250, TP 360 from Owens Illinois; PH 900, PH 950, PH 1025 from Carborundum) Processes: Boron deposition (p-doping), oxidation (HYDROX wet/dry), B drive-in, Breox, phosphor deposition (n-doping), P drive-in, PSG bake, LPCVD Si₃N₄, sintering, and alloying Tube capacity: Up to 100–150 wafers per run (depending on size, up to 150 mm), with automated boat loading and exhaust scrubbing for safety | Thermal doping for semiconductor devices, such as p-n junction formation in silicon sensors, drive-in of dopants for resistor fabrication in MEMS, wet oxidation for passivation layers in pressure sensors, and low-pressure CVD for silicon nitride barriers in microelectronic prototypes. Commonly used in R&D for customizing doping profiles in thin-film transistors or solar cell absorbers. | https://lmse.fe.uni-lj.si/activities/diffusion.shtml and https://www.tempress.nl/diffusion-and-deposition-lpcvd-ald-processes/ | Matjaž Cvar, Engineering Technician, matjaz.cvar@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE Cleanroom (thermal processing area), Faculty of Electrical Engineering, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Due to the complexity of the equipment, wafer handling protocols and the need to ensure process safety, reproducibility and protection of the system, independent individual operation is not permitted. All etching runs are performed exclusively in close collaboration with the responsible operator (Matjaž Cvar, Engineering Technician) or a person explicitly authorised by him. External users are welcome, but the process must always be carried out together with the operator. | Via e-mail to responsible person; advance booking required due to multi-hour process times, with priority for collaborative projects | Purchased by combination of LMSE’s own funds (generated from industrial services and contract research on the open market) and grants obtained through ARRS infrastructure calls.
University of Ljubljana, Faculty of Electrical Engineering, LMSE | MRC 603 Sputtering System | Materials Research Corporation (USA) | The MRC 603 is a versatile RF magnetron sputtering system designed for thin-film deposition in cleanroom environments. It enables precise deposition of conductive and dielectric films on substrates up to 150 mm diameter using DC or RF power sources. The system features three target configurations for alloy and elemental sputtering, with automated process control for uniform film thickness and adhesion. Key features: • Target configurations: Al-Si 1% (99.999% purity) magnetron inset target, Ag (99.995%) magnetron inset target, Ti (99.999%) magnetron planar target, Ni(V) (99.999%) magnetron planar target • Power supply: RF mode (up to 1 kW), compatible with DC for metals • Substrate size: Up to 150 mm wafers • Deposition rate: 0.1–10 nm/min (depending on material and power) • Vacuum: Base pressure < 10⁻⁶ Torr, process pressure 1–100 mTorr | Deposition of thin metallic and alloy films (e.g., Al-Si, Ag, Ti, Ni) for electrodes, temperature sensors, interconnects, and passivation layers in MEMS sensors, photonic devices, solar cells, and microelectronics. Ideal for creating conductive traces, adhesion layers for bonding, or reflective coatings in gratings and mirrors. Often used in combination with lithography (e.g., MicroWriter) and etching (e.g., DRIE) for full device fabrication. | https://lmse.fe.uni-lj.si/thin_film/PVD.shtml | Uroš Aljančič, researcher, uros.aljancic@fe.uni-lj.si | Danilo Vrtačnik, PhD, research counsellor, danilo.vrtacnik@fe.uni-lj.si | LMSE, Faculty of Electrical Engineering, Ljubljana | Due to the high complexity of the equipment and vacuum processes, independent individual operation is not permitted. All deposition runs are performed exclusively in close collaboration with the responsible operator. | Booking exclusively via e-mail to the responsible person (uros.aljancic@fe.uni-lj.si). After agreement on process details, a time slot is reserved (minimum 4-hour blocks due to pump-down time). The operator is present throughout the experiment. | Purchased by combination of LMSE’s own funds (generated from industrial services and contract research on the open market) and grants obtained through ARRS infrastructure calls.
University of Ljubljana, Faculty of Electrical Engineering, LRME | Arbitrary signal generator Siglent SDG 2082X | Siglent | a dual-channel function/arbitrary waveform generator with a 80 MHz maximum bandwidth, 1.2 GSa/s sampling rate and 16-bit vertical resolution |  | https://www.siglent.eu/product/1138486/siglent-sdg2082x-80mhz-function-arbitrary-waveform-generator | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LRME | Tripple power supply HM 7042 | HAMEG | 2 x 0…32V/0…2A, 1 x 0…5.5V/0…5A |  | https://www.rohde-schwarz.com/cz/products/test-and-measurement/dc-power-supplies/rs-hm7042-5-triple-power-supply_63493-161864.html | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LRME | Digital multimeter Siglent SDM 3065X | Siglent | a 6 ½ digit DMM with 12CH Scanner card (digital multimeter with 2,200,000 counts) |  | https://www.siglent.eu/product/1141108/siglent-sdm3065x-sc-6-1-2-digits-dual-display-digital-multimeter | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LRME | Osciloscope SDS 1102X | Siglent | 2 channel high resolution digital storage oscilloscope is based on 2 GSa/s, 12-bit Analog-Digital Converters and front ends with excellent noise floor performance. With a bandwidth of 100 MHz, it has a maximum record length of 100 Mpts, and display 2 analog channels + 16 digital channels mixed signal analysis ability. |  | https://www.siglent.eu/product/13556516/siglent-sds1102x-hd-2ch-12bit-100mhz-oscilloscope | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LRME | Solderinf station Ersa i-Con 1V | ERSA | one-channel, electronically controlled soldering and desoldering station, max. 150 W |  | https://kurtzersa.com/products/electronics-production/tools/soldering-desolderingstations/i-con-1v-mk2 | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LRME | Hot air rework station Atten ST862D | Atten | 100 to 480 degC, 1000 W |  | https://www.atten.eu/product/1150852/atten-st-862d-hot-air-station | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LRME | Industrial Microscope Digital Camera |  | 16MP 1080P 60FPS HDMI USB FHD |  |  | Tadej Tuma tadej.tuma@fe.uni-lj.si | Arpad Buermen arpad.buermen@fe.uni-lj.si | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | Via e-mail to responsible person | Via e-mail to responsible person
University of Ljubljana, Faculty of Electrical Engineering, LMFE | VK-X1000 | Keyence | The Keyence VK-X1000 with VK-X1050 head is a 3D confocal laser scanning microscope for high-resolution hybrid surface inspection and metrology. It combines full-color 2D optical imaging with precise 3D surface reconstruction, offering vertical resolution in the nanometer range and submicron lateral resolution. The LMFE configuration includes a motorized stage VK-D1, auto-focus, top-film detection functions, and calibration for transparent thin films (SiO2, SiOxNy, SixNy on Si). The system is mounted on an active pneumatic self-leveling vibration isolation table, providing measurement stability without special building modifications. It supports remote control and remote service for diagnostics, calibration, and performance validation. The tool is designed for quantitative 3D metrology in CMOS/MEMS process flows (etch depth, step height, roughness, profile of microstructures) and is positioned as a horizontal metrology workhorse inside the LMFE CMOS/MEMS pilot line, bridging process development, failure analysis, and advanced R&D characterization. | The VK-X1000 is used at LMFE for fast, non-destructive 3D metrology of CMOS/MEMS structures: measuring etch depth after DRIE or RIE, step height after PECVD/PVD deposition, photoresist profile after lithography, and surface roughness of polysilicon, metals and dielectrics. It supports process window development (dose/focus, etch time, gas chemistry), root-cause analysis of defects (footing, notching, micro-masking, over-polish), and correlation with electrical test results. Because measurement is contactless and repeatable, it is also used for student labs and engineering runs where quick feedback on process changes is required without damaging valuable wafers or test samples. | https://www.keyence.eu/landing/lpc/201806scanningmicroscope.jsp | dr. Janez Trontelj, ml. | raz. Miha Cacovich | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | The VK-X1000 may only be operated by trained users who have completed LMFE safety and tool-specific training. Use is restricted to inorganic and non-VOC samples; organic and biological specimens are prohibited due to laser-damage risk. Dedicated UV protective glasses are mandatory because of possible secondary reflections. Samples must be clean, dry and properly labeled; contaminated or sticky samples are not allowed. Users must not change calibration, user profiles or core software parameters without approval of the tool owner. All measurements must be recorded in the appropriate logbook and/or LIMS/NIS system. | to be discussed with responsible person |  | https://www.keyence.eu/img/lp/20730/0.png
University of Ljubljana, Faculty of Electrical Engineering, LMFE | Custom | Plasmatherm | A Cluster Tool integrates multiple processing chambers, optimizing semiconductor fabrication by combining Si-based PECVD (Plasma Enhanced Chemical Vapor Deposition) and ICP-RIE (Inductively Coupled Plasma Reactive Ion Etching) with specialized chemistry for advanced etching and deposition. Si-based PECVD: This process uses plasma to deposit high-quality silicon-based films (e.g., SiO₂, Si₃N₄, SiCN) at low temperatures, ideal for dielectric layers in microelectronics, MEMS, and solar cells. It offers excellent step coverage, uniformity, and high deposition rates, crucial for advanced semiconductor manufacturing. ICP-RIE: This etching technique employs high-density plasma to etch precise patterns in Si-based materials, metals, and dielectrics. The Cl Chemistry (e.g., Cl₂, BCl₃) is used for efficient etching of metals and dielectrics, while F Chemistry (e.g., SF₆, CF₄) is used for etching Si and SiO₂, offering excellent anisotropy and minimal damage. By combining these processes in a cluster configuration, it reduces contamination, increases throughput, and ensures high-quality results with improved process control. This tool is essential for precise patterning and deposition in semiconductor and MEMS fabrication. | The ICP-RIE + PECVD cluster is used for tightly coupled deposition–etch sequences in CMOS and MEMS fabrication, where film quality, sidewall definition, and contamination control are critical. Typical applications include pattern transfer of SiO2/SiNx hard masks, anisotropic etching of silicon and dielectric layers, MEMS trench and cavity definition, and post-etch passivation or sealing layers. The cluster configuration enables vacuum-integrated processing, minimizing particle generation, moisture uptake, and process drift, which is essential for reproducible R&D and pilot-line operation at sub-micron technology nodes. | https://corial.plasmatherm.com/en/markets/microelectromechanical-systems-mems | dr. Janez Trontelj, ml. | raz. Miha Cacovich | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | The ICP-RIE + PECVD cluster shall be operated only by trained and authorized personnel in accordance with approved SOPs and SEMI S2/S6 safety requirements. Process recipes must be validated for the specific material stack and contamination domain before use. Mixing of incompatible chemistries (e.g. metal etch and CMOS-clean processes) within the same chamber is prohibited without a qualified cleaning and re-qualification procedure. All runs require documented pre-check of gas supply, RF matching, exhaust and abatement functionality. Any deviation from qualified process windows must be logged and reviewed before further operation. | to be discussed with responsible person |  | https://corial.plasmatherm.com/hubfs/CORIAL_May_2020/images/Corial-210IL-1.jpg
University of Ljubljana, Faculty of Electrical Engineering, LMFE | ma6ba6gen4 | Suss Microtec | SUSS MicroTec MA6/BA6 gen4 is an industry-grade UV mask aligner for contact and proximity lithography with backside alignment capability, installed in the LMFE ISO 5 lithography area (“Rumena soba”). It is the core patterning tool for CMOS/MEMS pilot-line work, enabling multi-mask overlay and double-sided wafer processing. In optimized vacuum-contact mode, it supports repeatable sub-micron pattern transfer (~0.8 µm class) with controlled exposure dose and alignment stability. The system is equipped with an upgraded LED illumination module providing selectable g/h/i spectral lines (~436/405/365 nm) and continuous or pulsating exposure modes, improving intensity stability and reducing maintenance compared to mercury lamps. It integrates into standard resist tracks (HMDS priming, spin coat, bake, align/expose, post-exposure bake, develop) and interfaces downstream to etch and thin-film modules (ICP-RIE/RIE, PECVD, PVD). | SUSS MicroTec MA6/BA6 gen4 is used as the primary lithography tool for pattern definition in CMOS and MEMS pilot-line processes. Typical use cases include multi-mask CMOS front-end lithography (active areas, implants, contacts/vias, and metal layers), double-sided MEMS processing with backside alignment, and pattern transfer for dry etching (ICP-RIE/DRIE) and thin-film deposition (PVD/PECVD). The tool supports rapid prototyping, low-volume fabrication, and educational training, where repeatable sub-micron alignment, flexible contact/proximity modes, and stable UV exposure are required rather than high-throughput stepper-based production. | https://www.suss.com/en/products-solutions/imaging-solutions/mask-alignment/maba-gen4-series | dr. Janez Trontelj, ml. | raz. Miha Cacovich | Faculty of Electrical Engineering, University of Ljubljana, Tržaška cesta 25, 1000 Ljubljana, Slovenia | The SUSS MA6/BA6 gen4 mask aligner shall be operated only by trained and authorized users in accordance with approved LMFE SOPs and applicable cleanroom safety rules. Only qualified photomasks, photoresists, and wafers compatible with CMOS-clean processing are permitted. Wafers from gold, platinum, or other non-CMOS contamination domains are prohibited unless explicitly approved under dedicated procedures. Process recipes, alignment modes (soft, hard, vacuum contact), and exposure parameters must be selected according to the specific mask, resist, and resolution requirement. Vacuum contact mode shall be used with particular care to avoid mask or wafer damage. Any deviation from qualified process windows requires prior approval and documentation. Before operation, users must verify tool readiness, mask cleanliness, vacuum integrity, and illumination stability. After use, the tool must be left in a clean and safe state, with masks removed and process logs completed. Any malfunction, alignment drift, or suspected contamination event must be reported immediately to the designated tool owner. | to be discussed with responsible person |  | https://www.suss.com/var/site/storage/images/_aliases/image_full_hd/0/4/2/5/15240-1-eng-GB/ceff8ed9c69a-MABA_G-1.PNG
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Slot-die and blade coater / Naprava za nanos raztopin s postopkom slot-die in blade coating | Automatic Research | The tool handles solution processing using slot-die and blade-coating. It is positioned in a glovebox. | Large area solution deposition of thin-film layers | Deposition size: 20 cm x 20 cm (blade coating) and 15 cm x 20 cm (slot-die coating) Max. temperature: 120 °C Controlled speed of deposition and solution flow | Marko Jošt, marko.jost@fe.uni-lj.si | Marko Jošt, marko.jost@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Climate chamber HCP50 | Memmert | Climate humidity chamber HCP50 Temperature range: +18 - +90 °C Rel. humidity range: 20 – 95% Volume: 56 l | Damp heat 85%/85% testing | For controlled long-term accelerated life and 85 °C/85% tests. | Marko Jošt, marko.jost@fe.uni-lj.si | Marko Jošt, marko.jost@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Photonic Integrated Circuit Characterisation System |  | The system is designed for the optical and electrical characterisation of photonic integrated building blocks and various photonic integrated circuits. |  | Automatic chip contacting measurement unit (with automatic on-chip optical coupler search method) by Maple Leaf Photonics, type MLP SD100 Probe station (6 DOF, 4 motorised axes, 2 nm tuning resolution, X/Y/Z: 50/25/12 mm chip travel, temperature stabilised adjustable chip table, 4 DOF, 1 motorised axis). Optical fibre array, 8 single mode fibres, 127 um spacing, angle of incidence 8 degrees manually adjustable electrical contacting stage (5 DOF), 10 Tu needles (DC - MHz), 150 um pitch, 8-channel current-voltage measurement card (12 V/24 mA), 16 bit output, 18 bit input Laser source (Santec TSL 570-P, 1480 - 1640 nm) optical power meter (Santec MPM-211-04-F, 4 channels, 1250 - 1680 nm, - 70 - + 5 dBm) optical spectrum analyser (Yokogawa AQ6370D, 600 nm - 1700 nm, maximum resolution 0.02 nm, dynamic range 70 dB) polarisation analyser (Keysight N7781C, 1240 nm to 1650 nm) Photonica software to coordinate the system and instruments and to enable rapid measurements to be made | Janez Krč, janez.krc@fe.uni-lj.si | Janez Krč, janez.krc@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Laser system for the fabrication of thin-film minimodules | Bergfeld Lasertech GmbH | he laser system is intended for the microstructuring of thin layers and is primarily used for the fabrication of thin-film (perovskite) minimodules with the help of P1, P2 and P3 patterning lines. | P1, P", P3 laser patterning for thin-film minimodules | Two laser wavelengths of 532 and 1064 nm Laser beam width 25 µm 1 ns laser pulse Sample processing up to a size of 14 cm x 14 cm Automatic alignment of patterned lines | Marko Jošt, marko.jost@fe.uni-lj.si | Marko Jošt, marko.jost@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Photoluminescence and Electroluminescence Measurement System LuQY Pro | QYB Berlin | The system is capable of measuring the photo- and electroluminescence of smaller thin-film samples. |  | aser excitation with a wavelength of 532 nm Spectral sensitivity in the wavelength range between 550-1050 nm Integration time from 1 ms to 65 s The possibility of setting the laser intensity in the range between 0.1 and 1000 mW cm-2 Possibility to choose the laser beam size 0.1 or 1 cm2 Possibility of measuring electroluminescence in the range of ±10 V, ±150 mA Automatic calculation of quantum yield and bandgap | Marko Jošt, marko.jost@fe.uni-lj.si | Marko Jošt, marko.jost@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Thin film deposition equipment | Arradience | Thin film deposition equipment | ALD deposition of SnO2, ZnO, Al2O3 films | The device for depositing thin layers. | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person, use is only possible in late afternoon |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Thin film PV technology set-up |  | Inertial chamber (N2) for deposition steps without presence of humidity or oxygen) and ink-jet printer for depostion of inorganic or organic inks to layers. |  |  | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | PVS component evaluation set-up | Climate chamber Kambič, HiPOT Tester, Ground Bond Tester, Spitzenberger PVS 7000 | Isolation resistivity test of PV modules, climate chamber testing of PV modules, conversion efficiency measurement of inverters. | PV module and inverter test setup |  | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person
University of Ljubljana, Faculty of Electrical Engineering, LPVO | Solar Simulator AM1.5 | Newport Oriel 93194A | Measurement of conversion efficiency under solar irradiance AM1.5. |  |  | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LPVO | UV/Vis/NIR Spectrophotometer | PerkinElmer - Lambda 950 UV/VIS Spectrometer | Measurement of direct and total transmission and reflection in the wavelength range from175 to 3300 nm. | Transmission, reflection and absorption measurments of individual layers or devices | Spectral Range: lambda 950: 175 -3330 nm, 2ith 150 mm Ulbrich int. sphere: 200-2500 nm, transmission acces.: 175 - 3300 nm, with URA: 190 - 3300 nm; Light source: Deterium lamp D2, Tungsten lamp; Detectors: Photomomultiplier PMT, PdS photodetectors; | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | Prof. Dr. Marko Topič, marko.topic@fe.uni-lj.si | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Electrical Engineering, LNIV | Digital Oscilloscope 200MHz, 12bit, 2GSa/s, 2 CH ( 4x) | Rigol | https://www.batronix.com/shop/oscilloscopes/Rigol-DHO1202.html | Fully equipped working places (4) for FPGA Design | Various professional and educatonal FPGA development boards and interfaces available | dr. Andrej Žemva | dr. Andrej Žemva | UL FE, Laboratory of Photovoltaics and Optoelectronics, Tržaška 25, 1000 Ljubljana | No charges | 1 month in advance | 25% | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | DHO914, 21 pcs | Rigol | Digital Oscilloscope 125MHz, 1.25GSa/s, 4 channels, 16 digital channels |  |  | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | DG912 Pro, 21 pcs | Rigol | Function/Arbitrary Waveform Generator 150MHz,1.25GSa/s,16bit,2CH |  |  | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | DM858, 21 pcs | Rigol | Digital Multimeter 5.5 digits Resolution, 125 rdgs/s, 0.03% 1-Year DCV Accuracy |  |  | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | DP832, 21 pcs | Rigol | Programmable Linear DC Power Supply 195W, 3CH(30V/3A ¦¦ 30V/3A,5V/3A),10mV/10mA resolution. Ripple<350uV |  |  | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | doc. dr. Ratko Pilipović, ratko.pilipovic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person |  | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | DHO924S, 10 pcs | Rigol | 250MHz, 1.25GSa/s, 4 channels, 16 digital channels |  |  | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person | CC Chip.SI | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | PYNQ-Z1 with Accessory Kit, 10 pcs | AMD | The PYNQ-Z1 board is designed to be used with PYNQ, a new open-source framework that enables embedded programmers to exploit the capabilities of Xilinx Zynq All Programmable SoCs (APSoCs) |  |  | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person | CC Chip.SI | #VALUE!
University of Ljubljana, Faculty of Computer and Information Science | 16 Channel Digital Logic Probe | Rigol |  |  |  | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person | CC Chip.SI
University of Ljubljana, Faculty of Computer and Information Science | MSO8104 | Rigol | 1 GHz, 10 GSa/s, 500 Mpts, 4+16 CH MSO |  |  | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | prof. dr. Patricio Bulić, patricio.bulic@fri.uni-lj.si | UL FRI | to be discussed with responsible person | to be discussed with responsible person | CC Chip.SI | #VALUE!
University of Maribor | Micro/nano lithographic and machining SEM/FIB system / Mikro/nano obdelovalni in litografski sistem s SEM/FIB | Tescan | R&D platform Solaris for direct micromachining (FIB milling and FIB-assisted deposition), electron beam lithography, ion-beam lithography and sample observation with high spatial resolution. | Some of micromachining results: https://info.tescan.com/semicon/products/solaris-2 | Presentation by the manufacturer: https://info.tescan.com/semicon/products/solaris-2 | dr. Simon Pevec, simon.pevec@um.si | dr. Simon Pevec, simon.pevec@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM |  | Prikaz opreme v BRiUM katalogu: https://brium.um.si/#/research/equipment/f57b7b06-7775-4eeb-7909-08da006ef53c
University of Maribor | Thin film deposition system / Sistem za depozicijo tankih plasti | IntlVac | A thin film deposition system NanoChrome IV is capable of producing high quality dielectric thin film layers | Some deposition samples: https://www.intlvac.com/en-us/products-technology/intlvac-systems/thin-film-deposition/nanochrome-iv-uv-vis | Presentation by the manufacturer: https://www.intlvac.com/en-us/products-technology/intlvac-systems/thin-film-deposition/nanochrome-iv-uv-vis | dr. Simon Pevec, simon.pevec@um.si | dr. Simon Pevec, simon.pevec@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM |  | Prikaz opreme v BRiUM katalogu: https://brium.um.si/#/research/equipment/c64518cd-45db-4fa3-a8d1-08da07724381
University of Maribor | Die Bonder / Sistem za leplenje polprevodniških naprav | TPT | Semi automatic R&D die bonding system for microelectronics | Presentation by the manufacturer: https://www.tpt-wirebonder.com/hb75/ | Presentation by the manufacturer: https://www.tpt-wirebonder.com/hb75/ | dr. Vedran Budinski, vedran.budinski@um.si | dr. Vedran Budinski, vedran.budinski@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM |  | Prikaz opreme v BRiUM katalogu: https://brium.um.si/#/research/equipment/cd4508e2-5d2e-4f5a-4d1f-08db8db0bec4
University of Maribor | Wire bonder/ Sistem za žično povezovanje polprevodniških naprav | TPT | Semi automatic R&D wire bonding system for microelectronics | Presentation by the manufacturer: https://www.tpt-wirebonder.com/hb16/ | Presentation by the manufacturer: https://www.tpt-wirebonder.com/hb16/ | dr. Vedran Budinski, vedran.budinski@um.si | dr. Vedran Budinski, vedran.budinski@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM |  | Prikaz opreme v BRiUM katalogu: https://brium.um.si/#/research/equipment/c642dbf8-4f80-43b8-4d20-08db8db0bec4
University of Maribor | Laser lithography system / Sistem za lasersko litografijo | Kloe | The maskless equipment Dilase 250 is a versatile and compact equipment, which gives access to laser lithography. | Some deposition samples: https://www.kloe-france.com/en/photolithography-equipment/direct-laser-writing/direct-laser-writer-dilase-250 | Presentation by the manufacturer: https://www.kloe-france.com/en/photolithography-equipment/direct-laser-writing/direct-laser-writer-dilase-250 | dr. Simon Pevec, simon.pevec@um.si | dr. Simon Pevec, simon.pevec@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM |  | Prikaz opreme v BRiUM katalogu:https://brium.um.si/#/research/equipment/61c70bbb-569f-478d-4d1c-08db8db0bec4
University of Maribor | MCVD preform fabrication system / MCVD sistem za izdelavo vlakenskih surovcev | Plasil, BimesPro, Blubit | MCVD system for fabrication of custom specialty (doped) optical fibers. | Specialty preforms for fabricating fibers for R&D of optical fiber sensors and waveguides. | Presentation by the manufacture: https://bimespro.com/wp-content/uploads/2023/10/MDSsystemMCVD-Bimes-230920-v5-mc-nm-ofct-4.pdf | dr. Vedran Budinski, vedran.budinski@um.si | dr. Vedran Budinski, vedran.budinski@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM & ARIS co-finance packages |  | /
University of Maribor | Drawing Tower/ Vlečni stolp | Plasil, BimesPro, Blubit | Optical fiber drawing tower equipped with versatile system for applying special fiber coatings and advanced monitoring systems, allowing of fabrication of specialty optical fibers. | Specialty optical fibers. | Presentation by the manufacturer: https://bimespro.com/wp-content/uploads/2023/10/FDTspecialpurposedraw-Bimes-230922-v5-m2p5-nm-ofct-4.pdf | dr. Vedran Budinski, vedran.budinski@um.si | dr. Vedran Budinski, vedran.budinski@um.si | Fakulteta za elektrotehniko, računalništvo in informatiko Koroška cesta 46 2000 | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM |  | /
University of Maribor | 300 mm semi-/ fully-automated probe system | FormFactor | Modular 300 mm wafer probe station used for on-wafer electrical characterization (DC, RF, I-V/C-V, noise etc.) in device research and development. It supports manual and automated probe positioning, unattended multi-temperature testing, and high-throughput measurement workflows for advanced semiconductor device analysis. | The FormFactor CM300 is used for high-precision on-wafer electrical characterization of 300 mm semiconductor wafers in research and development environments. It supports I-V, C-V, RF, and ultra-low-noise measurements, enables automated full-wafer probing, and is suited for device reliability, aging, and temperature-dependent analysis. The system is widely applied in process development and device modeling, as well as in specialized use cases such as RF/microwave testing and silicon photonics, where high measurement accuracy and repeatability are essential. | Presentation by the manufacturer: https://www.formfactor.com/product/probe-systems/300-mm-systems/cm300xi/ | dr. Marko Kos, marko.kos@um.si | dr. Marko Kos, marko.kos@um.si | Laboratory for Electronic and Information Systems, Faculty of Electrical Engineering and Computer Science, University of Maribor, Koroška cesta 46, 2000 Maribor | to be discussed with responsible person | to be discussed with responsible person | Nadgradnja nacionalnih raziskovalnih infrastruktur – RIUM
University of Nova Gorica, Laboratory of Organic Matter Physics | Time-of-Flight Photoconductivity | 3ns pulsed laser with tunable wavelength 210nm – 2.3µm (Ekspla NT-342A) 2.5GHz digitizing oscilloscope (Lecroy WavePro 725i ) 4GHz probe tips (Picoprobe Model 10) with RF-240 coaxial connection Voltage supply (Keithley Ammeter 6487) Micropositioning system (Signatone SP-100) | Time-of-flight photoconductivity is an experimental method to measure charge carrier mobility in semiconducting and insulating materials. | A typical use of the method is to test materials whether they conduct charge carriers, since it directly detects the distribution of charge carrier velocities. | This setup is equiped with a tunable wavelength pulsed laser. Therefore, in addition to time-resolved also the spectroscopic study of photon-to-electron conversion dynamics can be characterized. | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Atomic Force Microscope (AFM) with conductive and kelvin mode probes | A.P.E.Research A100-AFM | This equipment combines high-resolution surface imaging with detailed electrical and work function measurements, offering versatile analysis for a wide range of materials. The Kelvin Probe Force Microscopy (KPFM) mode enables non-contact potential mapping, providing insights into the electronic properties of materials. | This technique is particularly useful for studying work function variations, charge distribution, and surface dipole layers. Resolution: X-Y scan size: 0.4 nm. Z scan size: 0.1 nm. | The Kelvin Probe Force Microscopy (KPFM) mode enables non-contact potential mapping, providing insights into the electronic properties of materials. | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Current-voltage measurement with Four-Probe Station | FormFactor probe station EPS150Triax Oscilloscope Tektronix DSA91304A Two channel source-meter Keysight B2912A Agilent Precision LCR Meter E4980A Newport vision station | With the four-probe station, we can measure various electrical properties of materials, including: - Resistance - Sheet Resistance - Conductivity - Current-Voltage Curves (I-V) - Impedance | Using the four-probe station, we can measure a wide range of devices and materials, such as: - Semiconductors: Characterization of wafers, layers, and individual devices such as diodes and transistors to determine their electrical properties. - Thin Films: Evaluating the uniformity and quality of conductive and resistive layers used in various applications such as sensors and electronic devices. - Bulk Materials: Evaluation of the resistance and conductivity of materials such as metals, polymers, and ceramics for research and industrial purposes. - Nanomaterials: Measuring the properties of nanowires, nanotubes, and other nanostructured materials to explore their potential for advanced electronic applications. - Solar Cells: Investigating the electrical properties of photovoltaic materials and devices to improve their efficiency and performance. | The system enables precise (~1µm) positioning of the conductive probes. Equipped with four triaxial probes, it enables the measurement of currents in the sub-pA range. A video camera facilitates manual positioning of the probes with a microscope that allows observation of features down to the micrometer range. The probe holder (chunk) is floating and allows the measurement of the electrical current to/from the probe or the application of a bias voltage to the probe. The probe station is housed in a Faraday darkroom to reduce electromagnetic interference, and an optical workstation (Vision Isostation Newport) is used to minimize mechanical vibrations. | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Plasma cleaning chamber | Diener “NANO” | Plasma chamber for surface cleaning, sterilization, surface activation and improvement of material properties. | Application examples: improving the performance of solar cells, removing contamination without damaging the sample and using chemicals. |  | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Clean room with laser lithography | Monmouth Scientific | Clean room enables a dust-free environment. Monmouth Scientific, CAM2250 filter, dimensions 3.5m x 3.5m, internal height 2.4m, yellow light. | High-resolution laser nanolithography system or rapid prototyping on resist-coated substrates (DaLI, continuous UV laser, 2D acousto-optical deflectors for 100 kHz beam positioning, high- precision xy table, resolution of 1µm in a 10x10cm area) | Class II biological safety cabinet ISO Class 4 (Class 10) – Monmouth Scientific MSC 1800 (c) Spin coater, hotplate | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Scanning Near-Field Microscope SNOM | APE Research TriA SNOM | Scanning Near Field Optical Microscopy (SNOM) is an advanced imaging technique that breaks the diffraction limit of conventional optical microscopy. By using a nanoscale light source, SNOM provides exceptional spatial resolution reaching down to 100nm and enables the visualization of structures at the nanometer scale | With this microscope, we can conduct examinations of variety of materials, including biological specimens, polymers, semiconductors, and nanostructures. | At LFOS, SNOM is used to investigate the photoconductive properties of organic and 2D materials, enhancing the understanding of their potential for optoelectronic applications. Currently, the set up is equipped with a pre-amplifier, lock-in amplifier, voltage supplier thereby enabling the measurements of currents as low as pA. | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Solar cells characterization setup | Photo Emission Tech. SS50AAA, monochromator CVI-240 Research TriA SNOM | The solar simulator is a sophisticated light source that approximates natural sunlight using a high-pressure xenon lamp. | It features a photo sensor and mechanical shutter (steady state) for precise control of light intensity simulating various sunlight conditions. It also allows to operate in both constant light intensity mode and also in constant lamp power mode. | This is equipped with an air mass filter to closely replicate the AM 1.5G solar spectrum. | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Closed-cycle He-cooled cryostat with quartz window and GHz feed-through connection (10-300K) | Photo Emission Tech. SS50AAA, monochromator CVI-240 Research TriA SNOM | To test electrooptical properties of material as a function of temperature, the testing material should be cooled with cryostat. Cryostat is a device used to maintain low cryogenic temperatures of the sample or devices mounted in it. Our lab is equipped with closed- cycle cryostat enabling control of temperature down to 10K. | Electrical and optical characterization of sample is possible in the cryostat. |  | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory of Organic Matter Physics | Alignment system for 2D materials |  | The system allows precise (~1µm) positioning and stacking of 2D materials. | The setup is intended for the preparation of van der Waals heterostructures and can be used to work with any other 2D materials. | The system has two 3-way high-precision micro-positioners and one automatic high- precision rotary stage with a heater. The system has a microscope with 10x, 20x and 50x objectives to guide the stacking process. The system is installed in a clean room. | prof. dr. Egon Pavlica, egon.pavlica@ung.si | prof. dr. Egon Pavlica, egon.pavlica@ung.si | University of Nova Gorica Laboratory of Organic Matter Physics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Materials Research Laboratory | Transmission Electron Microscope (TEM) with STEM and EDX unit | JEOL JEM 2100 UHR | It is possible to examine the solid specimens with atomic resolution (nominal resolution 0.1 nm). | Powder, nanostructures, lamellas, bulk materials to study crystalline structure, the different phases, the presence of defects, the interface structures, the shape of nano-objects, etc. | Thanks to the STEM/EDX unit it is also possible to conduct compositional analysis with high spatial resolution (~ 1 nm), in order to know which elements are presents in different areas of the sample (together with their concentrations). | prof. dr. Mattia Fanetti, mattia.fanetti@ung.si | prof. dr. Mattia Fanetti, mattia.fanetti@ung.si | University of Nova Gorica Materials Research Laboratory Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Materials Research Laboratory | Scanning Electron Microscope (SEM), with backscattered detector, EDX unit, cathodoluminescence and heating stage | JEOL JSM-2700f TTL | With the microscope it is possible to examine the surface of solid specimens with nanometric resolution (typical resolution 3 nm) | Surfaces, powders, nanostructures, films. Thanks to the EDX unit it is also possible to conduct compositional analysis of the phase(s) present in the sample with sub-micrometric resolution, and know which elements are present in the sample. | Cathodoluminescence micro- spectroscopy apparatus allows for the study of peculiar properties of the sample, such as dopant in semiconductors, defects in optical fibers, impurities in oxides, etc. The presence of an heating stage (nominal range RT-800 °C) allows for the study of the materials during a heating treatment. When mounted on the heating stage, it is possible to exposure the specimen surface to gas during heating/observation (max. pressure in 10-4 mbar range). | prof. dr. Mattia Fanetti, mattia.fanetti@ung.si | prof. dr. Mattia Fanetti, mattia.fanetti@ung.si | University of Nova Gorica Materials Research Laboratory Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Materials Research Laboratory | Advanced X-ray diffractometer | SmartLab SE (Rigaku) | With this X-ray diffractometer, we can determine the phase composition of powdered materials. | Clays, cements, and pigments. Quantification of phases is also possible. In addition, thin film samples can be investigated in grazing incidence geometry. Texture analysis and preferential orientation analysis are possible with Pole figure measurements. | Residual stress can be analyzed for example in thin films and metal or metal alloy foils. The additional heating stage allows to study phase transitions up to 1100°C in air, nitrogen, or vacuum. | assist. prof. dr. Andraž Mavrič, andraz.mavric@ung.si | assist. prof. dr. Andraž Mavrič, andraz.mavric@ung.si | University of Nova Gorica Materials Research Laboratory Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Materials Research Laboratory | System for thin films deposition and physical vapor deposition (PVD) | Prevac sp. z o.o. | The deposition system, allows to grow thin films of magnetic materials oxides and dielectrics for applications in devices. The system includes: - Glovebox with large and small antechambers from Inert - 4 sources: 2 for RF sputtering and 2 for magnetron sputtering (controllable also simultaneously) - Ion gun for reactive sputtering - Sample holder for 4 inches wafers - Heating stage (T max 900 C) | Alloys or layers of Fe, Ni, Co doped with transition metals, oxides such Al2O3 and ITO, indium tin oxide and dielectrics. | For better control, and better ordering, of the thin film, it is possible to heat the sample and also to apply a bias, which will help in both cleaning and getting improved quality. | assist. prof. dr. Andraž Mavrič, andraz.mavric@ung.si | assist. prof. dr. Andraž Mavrič, andraz.mavric@ung.si | University of Nova Gorica Materials Research Laboratory Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf
University of Nova Gorica, Laboratory for Quantum Optics | Experimental set up for photoemission spectroscopy |  | Performing XPS (X ray photoemission spectroscopy) and UPS (ultraviolet photoemission spectroscopy) measurements in the conventional and also in the time resolved configuration, depending on the used light source. | This experimental set up allows for the characterization of the electronic properties of conductive materials. By means of XPS it is possible to measure the core levels of the material under investigation, thus gaining knowledge of its chemical composition and relative percentages, with a surface sensitivity (1- 10) nm, and a “lateral resolution" of circa 700 microns (determined by the X ray spot size). UPS allows for the characterization of electrons in the valence band. Those electrons are the one participating in forming bonds, for example. | The experimental apparatus operates in UHV (ultra high vacuum, base pressure 10-10 - 10-11 mbar). It is equipped with two chambers: a sample preparation chamber and a measurement chamber. | prof. dr. Giovanni De Ninno, giovanni.de.ninno@ung.si | prof. dr. Giovanni De Ninno, giovanni.de.ninno@ung.si | University of Nova Gorica Laboratory for Quantum Optics Vipavska 11c SI-5270 Ajdovščina Slovenia | to be discussed with responsible person | to be discussed with responsible person |  |  | Primer prikaza opreme v skupnem katalogu: https://ung.si/documents/3315/Catalogue_of_UNG_Equipment_and_Expertise_for_External_users.pdf